Biomercury – Worldwide remediation of mercury hazards through biotechnology

Irene Wagner-Döbler1

1GBF Braunschweig, Germany

Mercury is a priority pollutant because of its extreme toxicity, global atmospheric transport and accumulation in the food chain. Its removal from current industrial emissions as well as from previously polluted sites is therefore mandatory and should take into account the latest achievements in science and technology. A unique biotechnological process for removal of mercury from wastewater based on the enzymatic transformation reactions of live mercury resistant bacteria has been developed and is now in full scale industrial operation at a Czech chloralkali electrolysis factory. This new technology is environmentally friendly and cost effective and has a much broader potential than that realized to date, which, however, needs to be assessed carefully for each new application. In the case of microbes, barriers of understanding and acceptance also must be overcome in order to promote their application. Microbiological technologies have to be integrated into a complete process remediation scheme including physical and chemical technologies, pre-treatment steps and waste disposal strategies.

The aim of the SSA BIOMERCURY therefore is to

- evaluate the applicability of the microbe based technology for clean-up of all types of contaminated environments;

- monitor the longterm performance of the first industrial microbe based mercury removal plant,

- compare costs, safety and efficiency of the biotechnological approach with traditional methods;

- transfer knowledge into developing countries where the problems are most urgent;

- exchange information with US agencies.

These goals shall be approached by an international consortium which will first conduct case studies on hot spots of pollution as well as on current mercury emitting industries. On this basis, integrated engineering concepts will be developed. They will be communicated to governments and International Agencies with the aim of implementing demonstration or remediation projects.